## Gaskets
Spec | Size Range | Description | Material/Type | Status
A2 | ALL SIZES | CAF, 3mm THICK, FF | BS 2815 GRD "B" | Verified
A3 | ALL SIZES | CAF, 3mm THICK, FF | BS 2815 GRD "B" | Verified
A4 | 15-300 | GASKET, SABS 1000, FULL FACE, 3 THK CAF |  | Verified
A5 | ALL SIZES | NO GASKETS LISTED (CS THREADED/COUPLED) |  | Verified
AA2 | ALL SIZES | CAF, 3mm THICK, FF | BS 2815 GRD "B" | Verified
AA5 | ALL SIZES | CAF, 3mm THICK FF | BS 2815 GRD "B" | Verified
AF2 | ALL SIZES | CAF, 3mm THICK TO SUIT RF FLANGES | BS 2815 GRD "B" | Verified
AF3 | ALL SIZES | CAF, 3mm THICK TO SUIT RF FLANGES | BS 2815 GRD "B" | Verified
AL2 | ALL SIZES | CAF, 3mm THICK TO SUIT RF FLANGES | BS 2815 GRD "B" | Verified
AL3 | ALL SIZES | CAF, 3mm THICK TO SUIT RF FLANGES | BS 2815 GRD "B" | Verified
B3 | ALL SIZES | GUTTA PERCHA NATURAL RUBBER RING SEE STD DRG JAA00045243 |  | Verified
B4 | ALL SIZES | GUTTA PERCHA NATURAL RUBBER RING SEE DRG No JAA00045243 |  | Verified
BA | 15-50 | CAF RF GASKET 1.5mm THICK TO ANSI B16.5 GR.1 150# |  | Verified
BA | 50-500 | CAF FF GASKET 1.5mm THICK TO ANSI B16.5 150# / GYLON STYLE 3500 (FAWN) 1.5mm THK TO ANSI B16.5 150# RF OR FF |  | Verified
BB | 15-200 | CAF RF GASKET 1.5mm THK TO ANSI B16.5 GR.1 150# / GYLON STYLE 3500 (FAWN) 1.5mm THK TO ANSI B16.5 150# RF |  | Verified
BC | 15-200 | CAF RF GASKET 1.5mm THK TO ANSI B16.5 GR.1 150# / GYLON STYLE 3500 (FAWN) 1.5mm THK TO ANSI B16.5 150# RF |  | Verified
BD | 15-300 | CAF RF GASKET 1.5mm THK TO ANSI B16.5 GR.1 150# / GYLON STYLE 3500 (FAWN) 1.5mm THK TO ANSI B16.5 150# RF |  | Verified
BE | ALL SIZES | NO GASKETS LISTED (CS WELDED/SOCKET) |  | Verified
BF | 15-500 | CAF RF GASKET 1.5mm THK TO ANSI B16.5 GR.1 150# / GYLON STYLE 3500 (FAWN) 1.5mm THK TO ANSI B16.5 150# RF |  | Verified
BF2 | ALL SIZES | SPIRAL WOUND METAL LAMINATE FLEXITALLIC TYPE CG TO STD DRG No JAA00045245 SHEET 2 |  | Verified
BF3 | ALL SIZES | SPIRAL WOUND METAL LAMINATE FLEXITALLIC TYPE CG TO STD DRG No JAA00045245 SHEET 2 |  | Verified
BH | ALL SIZES | NO GASKETS LISTED (FERRITIC ALLOY FLANGED) |  | Verified
BI | 15-500 | GASKET 150# 304 STAINLESS STEEL SPIRAL WOUND GRAFOIL 4.5mm THICK |  | Verified
BJ | 50-800 | DIMENSIONED STD. TO BS 4865 : PART 1 : 1972-DIMD. OF NON UP TO 64 bar - 3mm THK. |  | Verified
BL2 | ALL SIZES | SPIRAL WOUND METAL LAMINATE FLEXITALLIC TYPE CG TO STD DRG No JAA00045245 SHEET 2 |  | Verified
BL3 | ALL SIZES | SPIRAL WOUND METAL LAMINATE FLEXITALLIC TYPE CG TO STD DRG No JAA00045245 SHEET 2 |  | Verified
C3 | ALL SIZES | GUTTA PERCHA NATURAL RUBBER RING SEE JAA00045244 SHEET 1 |  | Verified
C4 | ALL SIZES | GUTTA PERCHA NATURAL RUBBER RING SEE DRG No JAA00045244 SHEET 2 |  | Verified
C5 | ALL SIZES | GUTTA PERCHA NATURAL RUBBER RING SEE STD DRG No JAA00045244 SHEET 3 |  | Verified
C6 | ALL SIZES | GUTTA PERCHA NATURAL RUBBER RING SEE JAA00045244 SHEET 4 |  | Verified
C7 | ALL SIZES | GUTTA PERCHA NATURAL RUBBER RING SEE STD DRG No JAA00045244 SHEET 5 | NATURAL RUBBER | Verified
C8 | ALL SIZES | GUTTA PERCHA NATURAL RUBBER RING SEE JAA00045244 SHEET 6 |  | Verified
CF2 | ALL SIZES | SPIRAL WOUND METAL LAMINATE FLEXITALLIC TYPE CG TO STD DRG No JAA00045245 SHEET 1 | ASBESTOS/CS | Verified
CF3 | ALL SIZES | SPIRAL WOUND METAL LAMINATE FLEXITALLIC TYPE CG TO STD DRG No JAA00045245 SHEET 1 | ASBESTOS/CS | Verified
CF4 | ALL SIZES | SPIRAL WOUND METAL LAMINATE FLEXITALLIC TYPE CGI TO STD DRG No JAA00045245 SHEET 1 | ASBESTOS/CS | Verified
CF5 | ALL SIZES | SPIRAL WOUND METAL LAMINATE FLEXITALLIC TYPE CGI TO STD DRG No JAA00045245 SHEET 1 | ASBESTOS/CS | Verified
CF6 | ALL SIZES | SPIRAL WOUND METAL LAMINATE FLEXITALLIC TYPE CGI TO STD DRG No JAA00045245 SHEET 1 | ASBESTOS/CS | Verified
CF7 | ALL SIZES | SPIRAL WOUND METAL LAMINATE FLEXITALLIC TYPE CGI TO STD DRG No JAA00045245 SHEET 1 | ASBESTOS/CS | Verified
CL2 | ALL SIZES | SPIRAL WOUND METAL LAMINATE FLEXITALLIC TYPE CG TO STD DRG No JAA00045245 SHEET 1 | ASBESTOS/CS | Verified
CL4 | ALL SIZES | SPIRAL WOUND METAL LAMINATE FLEXITALLIC TYPE CGI TO STD DRG No JAA00045245 SHEET 1 | ASBESTOS/CS | Verified
CL5 | ALL SIZES | SPIRAL WOUND METAL LAMINATE FLEXITALLIC TYPE CGI TO STD DRG No JAA00045245 SHEET 1 | ASBESTOS/CS | Verified
CL6 | ALL SIZES | SPIRAL WOUND METAL LAMINATE FLEXITALLIC TYPE CGI TO STD DRG No JAA00045245 SHEET 1 | ASBESTOS/CS | Verified
CL7 | ALL SIZES | SPIRAL WOUND METAL LAMINATE FLEXITALLIC TYPE CGI TO STD DRG No JAA00045245 SHEET 1 | ASBESTOS/CS | Verified
DC3 | ALL SIZES | CAF, 3mm THICK, FF | BS 2815 GRD "B" | Verified
DC5 | All sizes | CAF, 3mm thick, FF | BS 2815 GRD "B" | Verified
E2 | ALL SIZES | NO GASKETS LISTED (SEE NOTE 5 FOR FLANGES) |  | Verified
E3 | ALL SIZES | NO GASKETS LISTED (SEE NOTE 5 FOR FLANGES) |  | Verified
E4 | 200-500 | SPIRAL WOUND METAL LAMINATE TYPE CG, TO SUIT FLANGES TO BS 4504 | SS 304 | Verified
E5 | 200-500 | SPIRAL WOUND METAL LAMINATE TYPE CG, TO SUIT FLANGES TO BS 4504 | SS 304 | Verified
E6 | 200-500 | SPIRAL WOUND METAL LAMINATE TYPE CG, TO SUIT FLANGES TO BS 4504 | SS 304 | Verified
E7 | 200-500 | SPIRAL WOUND METAL LAMINATE TYPE CG, TO SUIT FLANGES TO BS 4504 | SS 304 | Verified
E8 | 200-500 | SPIRAL WOUND METAL LAMINATE TYPE CG, TO SUIT FLANGES TO BS 4504 | SS 304 | Verified
E9 | 200-500 | SPIRAL WOUND METAL LAMINATE TYPE CG, TO SUIT FLANGES TO BS 4504 | SS 304 | Verified
EA | 15-300 | PTFE / CAF ENVELOPE RF GASKET 2.5mm THICK TO SUIT ANSI B16.5 CLASS 150# RF FLGS. DIMS TO DRG IAA00045XXX XX / GYLON ENVELOPE STYLE 3563 3.1mm THK TO ANSI B16.5 150# RF |  | Verified
EB | 15-350 | GASKET CL 150 RF ASME B16.5, FLAT RING, FIG E3, 1.5mm THICK DIMENSIONS TO ASME B16.21 TABLE 4. REF: KLINGER TYPE TG2000 / PTFE GASKET | COMPRESSED EXPANDED GRAPHITE (FOR UTILITIES) PTFE COMPOUND (FOR CHEMICALS) | Verified
EC | 15-300 | CAF RF GASKET 1.5mm THICK TO ANSI B16.5 GR. IA 300# / GYLON STYLE 3500 (FAWN) 1.5mm THK TO ANSI B16.5 300# RF / GASKET 300# 316 STAINLESS STEEL SPIRAL WOUND GRAFOIL 4.5 mm THICK |  | Verified
ED | 15-600 | CAF RF GASKET 1.5mm THICK TO ANSI B16.5 GR.1 150# / GYLON STYLE 3500 (FAWN) 1.5mm THK TO ANSI B16.5 150# RF |  | Verified
EF | 15-300 | CAF RF GASKET 1.5mm THICK TO ANSI B16.5 GR.1 150# / GYLON STYLE 3500 (FAWN) 1.5mm THK TO ANSI B16.5 150# RF |  | Verified
EH | ALL SIZES | NO GASKETS LISTED (SS FLANGED) |  | Verified
EJ | ALL SIZES | NO GASKETS (FABRICATED DUCT / WELDED) |  | Verified
EK | ALL SIZES | NO GASKETS (FABRICATED DUCT) |  | Verified
F2 | ALL SIZES | NO GASKETS (VIKING-JOHNSON COUPLINGS) |  | Verified
FC3 | ALL SIZES | SPIRAL-WOUND METAL, 3mm THK TYPE 304 SS (SPEC AR) / PTFE-FLUOROCARBON 3.0 mm THK. EQUIV. PTFE SHEATHED ASBESTOS (SPEC SC) |  | Verified
G2 | ALL SIZES | CAF, 3mm THICK, FF | BS 2815 GRD "B" | Verified
G2A | ALL SIZE | CAF, 3mm THICK, FF | BS 2815 GRD "B" | Verified
G3 | ALL SIZES | NO GASKETS LISTED (GALVANISED) |  | Verified
G4 | ALL SIZES | CAF, 3mm THICK, FF | BS 2815 GRD "B" | Verified
G5 | ALL SIZES | CAF, 3mm THICK, FF | BS 2815 GRD "B" | Verified
G6 | 50 & UNDER | SPIRAL WOUND METAL LAMINATE FLEXITALLIC TYPE CG TO SUIT ANSI B16.5 FLANGING | ASBESTOS/CS | Verified
GA | 15-150 | CAF FF GASKET 1.5mm THICK TO ANSI B16.5 GR.1 125# / CAF FF GASKET 1.5mm THICK TO ANSI B16.5 150# / GYLON STYLE 3500 (FAWN) 1.5mm THK TO ANSI B16.5 150# FF |  | Verified
GL2 | ALL SIZES | CAF, 3mm THICK, FF | BS 2815 GRD "B" | Verified
H2 | ALL SIZES | NITRILE, 3mm THICK, FF |  | Verified
HA | ALL SIZES | NO GASKETS (BOROSILICATE GLASS BUTTRESS ENDS) |  | Verified
I2 | ALL SIZES | NO GASKETS (ALLOY 20 / DUCTILE IRON) |  | Verified
J2 | ALL SIZES | CAF, 3mm THICK, RF | TO SUIT STUB FLG DIMS | Verified
JA | ALL SIZES | NO GASKETS (BUTT/SOCKET FUSION PP) |  | Verified
JB | 15-100 (NB) | PTFE / CAF ENVELOPE GASKET 2.5mm THICK TO SUIT ANSI B16.5 CLASS 150# RF FLGS. DIMS TO DRG IAA00045XXX XX / FF EPDM TEFLON COATED GASKET 3mm THICK REF: ASAHI AV |  | Verified
JC | 20-63 (OD) | SOCKET UNION WITH "O" RING GASKET CHLOROPRENE RUBBER | CHLOROPRENE RUBBER | Verified
JD | ALL SIZES | NO GASKETS (GRP BUTT AND OVERWRAP) |  | Verified
JE | ALL SIZES | NO GASKETS (GRP BUTT AND OVERWRAP) |  | Verified
JF | 15-400 | PTFE / CAF ENVELOPE RF GASKET 2.5mm THICK TO SUIT ANSI B16.5 CLASS 150# RF FLGS. DIMS TO DRG IAA00045XXX XX / FF EPDM TEFLON COATED GASKET 3mm THICK REF: ASAHI AV |  | Verified
JF2 | 15-150 | PTFE / CAF ENVELOPE RF GASKET 2.5mm THICK TO SUIT SABS 1123 PN 1600 RF FLANGES | PTFE ENVELOPE 1 mm / CAF INSERTION 1.5 mm | Verified
JG | ALL SIZES | NO GASKETS (VALVES / HOSES ONLY) |  | Verified
JH | 25-1600 | FULL FACE NEOPRENE GASKET 3mm THICK, SHORE HARDNESS (A OR A2) OF 40-60 TO FIT ANSI B16.5 CLASS 150# FLANGES / FULL FACE NEOPRENE GASKET 6mm THICK |  | Verified
JM | ALL SIZES | NO GASKETS (uPVC SOLVENT SOCKET / GRP OVERWRAP) |  | Verified
JN | ALL SIZES | NO GASKETS (uPVC SOLVENT SOCKET / GRP OVERWRAP) |  | Verified
JO | ALL SIZES | NO GASKETS (GRP BUTT AND OVERWRAP) |  | Verified
JP | ALL SIZES | NO GASKETS (HDPE BUTT / ELECTROFUSION) |  | Verified
JQ | ALL SIZES | NO GASKETS (GRP BUTT AND OVERWRAP) |  | Verified
JQ1 | ALL SIZES | NO GASKETS (GRP) |  | Verified
JR | ALL SIZES | NO GASKETS (PP/GRP) |  | Verified
K1 | ALL SIZES | 3mm THICK NON ASBESTOS, RING TYPE. DIMENSIONS TO SUIT STUB END FACE (O/D & I/D) | AMRID FIBRES WITH NBR BINDER | Verified
K2 | ALL SIZES | 3mm THICK NON ASBESTOS, RING TYPE. DIMENSIONS TO SUIT STUB END FACE (O/D & I/D) | AMRID FIBRES WITH NBR BINDER | Verified
K3 | ALL SIZES | 3mm THICK NON ASBESTOS, RING TYPE. DIMENSIONS TO SUIT STUB END FACE (O/D & I/D) | AMRID FIBRES WITH NBR BINDER | Verified
KA1 | ALL SIZES | CAF, 3mm THICK INSIDE BOLT CIRCLE (IBC) | BS 2815 GRADE "B" | Verified
KA2 | ALL SIZES | CAF, 3mm THICK INSIDE BOLT CIRCLE (IBC) | BS 2815 GRADE "B" | Verified
KA3 | ALL SIZES | CAF, 3mm THICK INSIDE BOLT CIRCLE (IBC) | BS 2815 GRADE "B" | Verified
L2 | ALL SIZES | NO GASKETS |  | Verified
M2 | ALL SIZES | NO GASKETS |  | Verified
MA | ALL SIZES | NO GASKETS (PP LINED, PASTE MOULDED) |  | Verified
MB | ALL SIZES | NO GASKETS (PVDF LINED) |  | Verified
MC | ALL SIZES | NO GASKETS (PTFE LINED) |  | Verified
MD | ALL SIZES | NO GASKETS (RUBBER LINED) |  | Verified
MF | 15-200 | GASKET CL 150 RF ASME B16.5, FLAT RING, FIG E3, 1.5mm THICK DIMENSIONS TO ASME B16.21 TABLE 4 | PTFE COMPOUND | Verified
N2 | ALL SIZES | NO GASKETS (NITRILE RUBBER LINED) |  | Verified
N4 | ALL SIZES | NO GASKETS (NITRILE RUBBER LINED) |  | Verified
O1 | ALL SIZES | NO GASKETS LISTED (SS316L WELDED) |  | Verified
P2 | ALL SIZES | NO GASKETS (uPVC SOLVENT WELDED) |  | Verified
Q1 | ALL SIZES | NONE |  | Verified
Q2 | NONE | NONE |  | Verified
R10 | ALL SIZES | NO GASKETS (HDPE) |  | Verified
R2 | ALL SIZES | NATURAL RUBBER 3.0 mm THK FF (VA ONLY); NO GASKETS FOR OTHER SERVICES |  | Verified
R3 | ALL SIZES | NO GASKETS |  | Verified
R4 | ALL SIZES | NO GASKETS |  | Verified
R5 | All sizes | No gaskets |  | Verified
R6 | ALL SIZES | NO GASKETS - ONLY JOINTING COMPOUND | MULTOTEC TO SPECIFY | Verified
R7 | ALL SIZES | NO GASKETS |  | Verified
R8 | ALL SIZES | NO GASKETS |  | Verified
R9 | ALL SIZES | NO GASKETS |  | Verified
S2 | ALL SIZES | PTFE-FLUOROCARBON, 3mm THICK FF |  | Verified
S3 | ALL SIZES | PTFE-FLUOROCARBON, 3mm THICK FF |  | Verified
T2 | 20-50 | SPIRAL WOUND METAL LAMINATE FLEXITALLIC TYPE CG | ASBESTOS/CS | Verified
TL2 | 20-50 | SPIRAL WOUND METAL LAMINATE FLEXITALLIC TYPE CG | ASBESTOS/SS304 | Verified
V2 | ALL SIZES | CAF, 3mm THICK FF | BS 2815 GRD "B" | Verified
V2A | ALL SIZES | CAF, 3mm THICK FF | BS 2815 GRD "B" | Verified
V3 | ALL SIZES | CAF, 3mm THICK FF | BS 2815 GRD "B" | Verified
V4 | ALL SIZES | CAF, 3mm THICK IBC | BS 2815 GRD "B" AND BS 4865 PART 1 | Verified
V5 | ALL SIZES | NO GASKETS LISTED |  | Verified
V7 | ALL SIZES | CAF, 3mm THICK FF | BS 2815 GRD "B" | Verified
X2 | ALL SIZES | NO GASKETS (SCREWED JOINTS) |  | Verified
X3 | ALL SIZES | NO GASKETS (QUICK RELEASE CLAMP) |  | Verified